## Sheet1
points needed | points in BRICK | acronym
hot water valve | Preheat_Hot_Water_Valve/Preheat_Valve_VFD/Heating_Valve | HW_VLV
chilled water valve | Chilled_Water_Valve/Cooling_Valve | CHW_VLV
mixed air temperature | Heat_Wheel_Supply_Air_Temperature_Sensor | MAT
outside air temperature | Outside_Air_Temperature_Sensor | OAT
return air temperature | Return_Air_Temperature_Sensor | RAT
supply air temperature | Discharge_Air_Temperature_Sensor | SAT
supply air temperature setpoint | Discharge_Air_Temperature_Sensor_Setpoint | SAT_SPT
outside air relative humidity | Outside_Air_Humidity_Sensor | OA_RH
return air relative humidity | Return_Air_Humidity_Sensor | RA_RH
outside air damper | Outside_Air_Damper_Position_Sensor | OAD
mixed air damper | Mixed_Air_Damper_Position_Sensor | MAD